3.02	ADVANCED PROGRAMMING
A.	Factory trained personnel (Programmer), familiar with the installed system(s), shall be provided for the purposes of executing programming services to meet specified requirements. The Programmer will work in close conjunction with the ETC Factory Certified Technician who would be providing start-up services. Programming services and start-up services may, or may not, occur concurrently depending on project specifics.
B.	The Programmer, at the direction of the Lighting Consultant and/or Owner’s Representative, will adjust all programmable components of the lighting and control system to meet the design intent of the project. 
C.	The Programmer will be factory trained and will hold current certification for all furnished control systems. Re-certification for Programmers will be required at least every five (5) years.
D.	Advanced Programming Services will be priced on a per-day basis and will be estimated and quoted for a complete project. Additional time will be charged at a quoted day-rate.
E.	The [Electrical/General] Contractor (not the Programmer) will be required to provide any and all equipment required for the execution of Advanced Programming – including, but not limited to, temporary programming consoles and monitors, tables and chairs, site access and necessary support personnel, which will be specified by the Programmer at the time the schedule for Programming Service is determined.